# Exercise 1: To visualise wind power potential and aspects that relate to wind energy utilisation in a country of your choice.

Step 1: Open QGIS Open .Tif file form browser	Step 2: Right Click on Layer  Properties	      Step 3: Properties  Histogram

Step 4: Properties  Symbology                                              Step 5: Properties  Histrogram                      Step 6: Symbology Windowmenu

| Country | India |
| --- | --- |
| Download Wind Data | Energy data info |
| Content of Data | Wind Speed and Power Density |

In a Figure 1.1, you can see the approach used to find the solution for average wind speed at a height of 100 meters. Specifically, in Step 3, my first approach involved analysing the data using a histogram and dividing it into four categories: Low, Medium, High, and Very High. The categories are based on wind speed values as follows:

Low: Less than 3 m/s

Medium: Between 3 and 6 m/s

High: Between 6 and 7 m/s

Very High: Greater than 7 m/s

In Step 4, I applied this classification in the Symbology menu, as you can see in the image.

In a Figure 1.2, you can see the approach used to find the solution for average power density at a height of 100 meters. I followed same approach of Figure 1.1, see in step 5 and step 6.

Low: Less than 100 W/m2

Medium: Between 100 and 200 W/m2

High: Between 200 and 400 W/m2

Very High: Greater than 400 W/m2

(Figure 1.1: Average Wind Speed at a Hight of 100 m)

(Figure 1.2: Average Power Density at a Hight of 100 m)

# Exercise 2: Download and visualise the wind speed and power density map for Denmark. Consider type of symbology and choice of colours. Add the csv-file containing wind turbines. Visualise the wind turbines in Denmark by: Installed Capacity and Manufacturer. Use the methods Unique Values, Graduated Symbols, Graduated Colours etc. Add a grid, North arrow etc to your map.

Step 1: Open QGIS  Open (.Tif) files of Wind speed and Power density map for Denmark, Step 2: Project  Properties [See Fig. 2.1, Change coordinates reference system, Used ETRS89 / UTM zone 32N], Step 3: Right click on Layer  Properties  Histogram [my first approach involved analysing the data using a histogram]  Symbology [dividing it into categories, names and different colours]. I didn’t include photos of step 2 and 3 because it has already explained in Exercise 1. I added only final look photos, see in Fig 2.2 [Wind speed] and 2.3 [Power density].

(Figure 2.1)					         (Figure 2.2)

(Figure 2.3)					                    (Figure 2.4)

Step 4: Layer  Add Layer  Add Delimited Test Layer [See fig. 2.4 and 2.5], Here basically added (.csv) file of containing of Wind turbine. Before added in QGIS, Opened in Notepad (App) and understood given data.

(Figure 2.5)

Step 5: Right click on Layer  Properties  Symbology [See Fig. 2.6], Here, the task is to visualize the installed capacity of the wind turbines. In the selection menu, choose the Graduated category and set the value to Power. The output is shown in Fig. 2.7. Step 6: I followed the same steps to visualize the manufacturer of the wind turbines, but I changed the category type. I selected specific companies and removed other companies for visualization [See Fig. 2.8]. The result is shown in Fig. 2.9. Step 7: Go to View  Decorations, I added a Grid, a North arrow using this option [See Fig. 2.10].

(Figure 2.6)					         (Figure 2.7)

(Figure 2.8)					         (Figure 2.9)

(Figure 2.10)

# Exercise 3: Find potential wind energy locations in County Galway, Ireland

Step 1: Import “County_Galway.shp” and other “.shp” files, adjust their Colours. Step 2: Right click in OSM_Landuse  Open attribute table  Select by expression. For future selections, set “fclass” to the condition “fclass” = “forest” [See Fig 3.1]. Step 3: Right click in OSM_Landuse  Export  Save selected Features As. Save file under the new name “All_Forest”[See Fig 3.2]. The result is shown in Fig. 3.3.

(Figure 3.1)			       (Figure 3.2)			    (Figure 3.3)

Step 4: I followed the same steps as above to find areas with wind power densities less than 900 Wm2.[see Fig. 3.4 and 3.5].

Step 5: In the Processing Toolbox  Search Vector Selection-select within distance. [See Fig 3.6]. This provides the results for all wind turbines located less than 5 km away from natural heritage sites. [See Fig. 3.7].

(Figure 3.4)				 (Figure 3.5)

(Figure 3.6)				(Figure 3.7)

(Figure 3.8)		     (Figure 3.9)			              (Figure 3.10)

Step 6: Vector  Geoprocessing tools  Buffer. I Created buffer of 1 km for (Forest, Natural Heritage and Residential areas), 0.5 km (Wind turbine) and 0.2 km (Main roads), resulting in a total of five buffered areas. [See Fig. 3.9 and 3.10].

(Figure 3.11)					                  (Figure 3.12)

Step 7: Vector General  Merge Vector Layers. Select five buffered area, “OSM_Landuse” and “Power_Density_Lessthan_900” to merge them together [See Fig. 3.11]. The result is shown in Fig. 3.12. [No go area]

Step 8: Vector  Geoprocessing tools  Difference. Here, subtract the merged area from “County_Galway” to find the difference area [See fig. 3.13], also referred to as potential wind areas [See fig.3.14].

(Figure 3.13)

(Figure 3.14)

# Exercise 4: Local Wind Farm Planning (Location: Lindewitt Municipality, Schleswig-Holstein).